## Slide 1: Nuclear in Australia: What are the opportunities and challenges?
Jasmin Diab, CSC
Managing Director, Global Nuclear Security Partners
President, Women in Nuclear Australia

## Slide 2: Nuclear Power as Base Load
Source: International Atomic Energy Agency

## Slide 3: Automatic Load Adjustment
Source: HAL Open Science, NPP Flexibility at EDF

## Slide 4: Capacity Factor
Source: US Department of Energy

## Slide 5: Low reliance on critical minerals
Source: Our World in Data

## Slide 6: Safety

## Slide 7: Waste
Source: ANSTO
Low Level Radioactive Waste (LLW)
Source: ARPANSA
Source: World Nuclear Association
Intermediate Level Radioactive Waste (ILW)
High Level Radioactive Waste (HLW)

## Slide 8: Environmental Footprint

## Slide 10: Easy solution - Coal to Nuclear
Source: GE Hitachi
Source: Westinghouse
Small Modular Reactors – 300MW
Traditional Large Scale – 1000MW
Notes: AEMO’s 2023 WEM Statement of Opportunities was the first in which AEMO gave a forecast that took into account WA’s commitment to transitioning off coal-fired energy by 2030, which would strip approximately 1,400 MW of baseload power generation out of the system.
Collie – 350MW
Muja – 654MW (close 2025)
Replaced with 800MW solar and wind (add in capcity factor)
Private owned Bluewaters – 434MW
Close by 2029 – 5 years
Gap – gas firm up temporary gaps in supply (shortages)

## Slide 11: Coal to Nuclear Workforce – Nuclear Jobs
https://fuelcycleoptions.inl.gov/SiteAssets/SitePages/Home/C2N_Guidebook_2024.pdf
Total increase in nuclear jobs 90
Source: US Department of Energy

## Slide 12: Coal to Nuclear Workforce – Coal Jobs
https://fuelcycleoptions.inl.gov/SiteAssets/SitePages/Home/C2N_Guidebook_2024.pdf
Source: US Department of Energy
Total decrease coal jobs 42
Overall increase overall 48 jobs

## Slide 13: Water – How is it used?
Source: UNSW
Once through cooling system
Closed Loop cooling system

## Slide 14: Water – Coal to Nuclear comparison
Source: UNSW

## Slide 15: Nuclear’s Challenges in Australia
Public Perception
The Politics
High Initial Capital Costs
Construction time
Skills and expertise

## Slide 16
Community engagement and awareness

## Slide 17: Thank You!
Jasmin Diab
Global Nuclear Security Partners
Jaz.diab@gnsp.global
https://www.nuclearforaustralia.com
Source: ANS – Diablo Canyon NPP (California)